## Sheet1
ID | Label | Len_Occurrences | Files_Occurences | Unit | OBX_Units
113 | Pleth Waveform | 2 | ['df_MX800_HL7_waveform', 'df_Test1_hl7'] | - | 139
5141 | ECG Lead II Wave | 2 | ['df_MX800_HL7_waveform', 'df_Test1_hl7'] | - | 47
5142 | ECG Lead III Wave | 2 | ['df_MX800_HL7_waveform', 'df_Test1_hl7'] | - | 47
8857 | Arterial Blood Pressure (ABP) Wave | 2 | ['df_MX800_HL7_waveform', 'df_Test1_hl7'] | - | 9
8870 | Impedance Respiration Wave | 2 | ['df_MX800_HL7_waveform', 'df_Test1_hl7'] | - | 84
1364 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
2975 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
2978 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
4377 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
4378 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
5973 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
5975 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6289 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6290 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6291 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6292 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6293 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6294 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6296 | O2 Supply Alarm | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] | unitless | 139
6299 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6300 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6303 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6305 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6376 | High Leak Alarm | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] | unitless | 139
92001 | Ventilator Patient Disconnected Alarm | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] | unitless | 139
92011 | Ventilator Inoperative Alarm | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] | unitless | 139
26 | Device Inactivation Status | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] | unitless | 139
171 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
172 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
4390 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6216 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6307 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6266 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 139
6277 |  | 3 | ['df_MX800_HL7', 'df_V60_OPptiflow_HL7', 'df_V60_ST_HL7'] |  | 19
3326 | Device Average Gas Flow | 1 | ['df_V500_HL7'] | L/min | 32
9476 | Percent of Leakage | 1 | ['df_V500_HL7'] | % | 19
60 | Tidal Volume | 1 | ['df_V500_HL7'] | mL | 26
61 | Dynamic Compliance | 1 | ['df_V500_HL7'] | L/bar | 105
582 | Resistance | 1 | ['df_V500_HL7'] | mbar/L/s | 106
635 | Inspired O2 (FiO2) | 1 | ['df_V500_HL7'] | % | 19
775 | Inspiratory Component of I:E Ratio | 1 | ['df_V500_HL7'] | unitless | 139
776 | Expiratory Component of I:E Ratio | 1 | ['df_V500_HL7'] | unitless | 139
1189 | Positive End Expiratory Pressure (PEEP) | 1 | ['df_V500_HL7'] | mbar | 44
1190 | I:E Ratio | 1 | ['df_V500_HL7'] | unitless | 139
1306 | Tidal Volume | 2 | ['df_V500_HL7', 'df_V60_ST_HL7'] | mL | 26
1307 | Minute Volume | 2 | ['df_V500_HL7', 'df_V60_ST_HL7'] | L/min | 32
1314 | Spontaneous Respiration Rate | 1 | ['df_V500_HL7'] | 1/min | 1
1415 | Mean Airway Pressure | 1 | ['df_V500_HL7'] | mbar | 44
1426 | Intrinsic PEEP | 1 | ['df_V500_HL7'] | mbar | 44
1569 | Minimum Airway Pressure | 1 | ['df_V500_HL7'] | mbar | 44
1570 | P0.1 Occlusion Pressure | 1 | ['df_V500_HL7'] | mbar | 44
1571 | Lung Volume Trapped (TrpVol) | 1 | ['df_V500_HL7'] | mL | 26
1761 | Airway Resistance | 1 | ['df_V500_HL7'] | mbar/L/s | 106
2092 | Inspired Minute Volume | 1 | ['df_V500_HL7'] | L/min | 32
2326 | Expired Minute Volume | 1 | ['df_V500_HL7'] | L/min | 32
2416 | Spontaneous Inspired Tidal Volume | 1 | ['df_V500_HL7'] | mL | 26
2432 | Expired Spontaneous Tidal Volume | 1 | ['df_V500_HL7'] | mL | 26
2433 | Mechanical Expired Minute Volume | 1 | ['df_V500_HL7'] | L/min | 32
2434 | Spontaneous Expired Minute Volume | 1 | ['df_V500_HL7'] | L/min | 32
2564 | Peak Airway Pressure | 1 | ['df_V500_HL7'] | mbar | 44
2570 | Spontaneous Tidal Volume | 1 | ['df_V500_HL7'] | - | 31
3966 | Inspired Mandatory Tidal Volume | 1 | ['df_V500_HL7'] | mL | 26
3968 | Spontaneous Fraction of Minute Volume | 1 | ['df_V500_HL7'] | % | 19
3971 | Negative Inspiratory Force | 1 | ['df_V500_HL7'] | mbar | 44
4003 | Generic Respiration Rate | 1 | ['df_V500_HL7'] | 1/min | 1
4892 | Airway Correlation Coefficient | 1 | ['df_V500_HL7'] | unitless | 139
5340 | Expired Mandatory Tidal Volume | 1 | ['df_V500_HL7'] | mL | 26
7640 | Mandatory Respiration Rate | 1 | ['df_V500_HL7'] | 1/min | 1
7642 | Mandatory Tidal Volume | 1 | ['df_V500_HL7'] | - | 26
9466 | Mandatory Triggered Respiration Rate | 1 | ['df_V500_HL7'] | 1/min | 1
1312 |  | 1 | ['df_V60_ST_HL7'] |  | 32
6288 | Percent of Patient Triggered Breaths | 1 | ['df_V60_ST_HL7'] | % | 19
6268 |  | 1 | ['df_V60_ST_HL7'] |  | 1
6269 |  | 1 | ['df_V60_ST_HL7'] |  | 39
6270 |  | 1 | ['df_V60_ST_HL7'] |  | 39
6271 |  | 1 | ['df_V60_ST_HL7'] |  | 4
6272 |  | 1 | ['df_V60_ST_HL7'] |  | 4
6273 |  | 1 | ['df_V60_ST_HL7'] |  | 139
6279 |  | 1 | ['df_V60_ST_HL7'] |  | 39
6281 | Tidal Volume Lower Alarm Limit | 1 | ['df_V60_ST_HL7'] | - | 26
6282 |  | 1 | ['df_V60_ST_HL7'] |  | 1
6283 | Minute Volume Lower Alarm Limit | 1 | ['df_V60_ST_HL7'] | - | 31
9223 |  | 1 | ['df_V60_ST_HL7'] |  | 139
2327 |  | 1 | ['df_V60_ST_HL7'] |  | 39
2761 |  | 1 | ['df_V60_ST_HL7'] |  | 19
5945 |  | 1 | ['df_V60_ST_HL7'] |  | 1
6379 | Ratio of Inspiration Time to Total Breath Cycle | 1 | ['df_V60_ST_HL7'] | - | 139