## Sheet1
ID | Label_icca | Driver_icca | Source_icca | Modèle_icca
60 | VT exp mesuré | DragerMedibus
61 | Compliance | DragerMedibus
582 | Resistance | DragerMedibus
635 | FiO2 mesurée | DragerMedibus
775 | Inspiratory Component I:E ratio | DragerMedibus
776 | Expiratory Component I:E ratio | DragerMedibus
1189 | PEEP mesure | DragerMedibus
1190 | I/E Ratio | DragerMedibus
1307 | VM inspire mesure | DragerMedibus
1415 | Mean Airways Pressure | DragerMedibus
1426 | PEEP intrinseque | DragerMedibus
1569 | Minimum Airway Pressure | DragerMedibus
1570 | Occlusion pressure | DragerMedibus
1571 | Trapped volume | DragerMedibus
2326 | Minute expired volume | DragerMedibus
2416 | Minute expired volume | DragerMedibus
2432 | Expired Spontaneous Tidal Volume | DragerMedibus
2564 | Peak Airways Pressure | DragerMedibus
4003 | Breathing frequency | DragerMedibus
5340 | Expired Mandatory Tidal Volume | DragerMedibus
171 | Device Date | RespironicsEsprit
172 | Device Time | RespironicsEsprit
1306 | Tidal Volume | RespironicsEsprit
1312 | Breathing Circuit Total Leakage | RespironicsEsprit
1364 | Low PEEP Alarm | RespironicsEsprit
2327 | Peak Inspiratory Pressure | RespironicsEsprit
2975 | Apnea Alarm | RespironicsEsprit
2978 | Low Minute Volume Alarm | RespironicsEsprit
4377 | Low Inspiratory Pressure Alarm | RespironicsEsprit
4378 | High Respiratory Rate Alarm | RespironicsEsprit
4390 | Device Alarm Silence Status | RespironicsEsprit
5945 | Total Respiration Rate | RespironicsEsprit
5973 | Circuit Occlusion Alarm | RespironicsEsprit
5975 | Low Battery Alarm | RespironicsEsprit
6216 | Current Ventilation Type | RespironicsEsprit
6266 | NPPV Mode Setting | RespironicsEsprit
6268 | NPPV Respiration Rate Setting | RespironicsEsprit
6269 | NPPV EPAP Setting | RespironicsEsprit
6270 | NPPV IPAP Setting | RespironicsEsprit
6271 | NPPV Inspiratory Time Setting | RespironicsEsprit
6272 | NPPV Rise Time Setting | RespironicsEsprit
6273 | NPPV I-Trigger Type | RespironicsEsprit
6277 | NPPV O2 Concentration Setting | RespironicsEsprit
6279 | NPPV Inspiratory Pressure Lower Alarm Limit | RespironicsEsprit
6281 | Tidal Volume Lower Alarm Limit | RespironicsEsprit
6282 | NPPV Respiratory Rate Upper Alarm Limit | RespironicsEsprit
6283 | Minute Volume Lower Alarm Limit | RespironicsEsprit
6288 | Percent of Patient Triggered Breaths | RespironicsEsprit
6289 | Safety Valve Alarm | RespironicsEsprit
6290 | Nonvolatile Memory Failure Alarm | RespironicsEsprit
6291 | Primary Alarm Failure | RespironicsEsprit
6292 | High Inspiratory Pressure Alarm | RespironicsEsprit
6293 | Air Valve Alarm | RespironicsEsprit
6294 | O2 Valve Alarm | RespironicsEsprit
6296 | O2 Supply Alarm | RespironicsEsprit
6299 | Low Tidal Volume Alarm | RespironicsEsprit
6300 | Low Expired Spontaneous Tidal Volume Alarm | RespironicsEsprit
6303 | High Enclosure Temperature Alarm | RespironicsEsprit
6305 | Low EPAP Alarm | RespironicsEsprit
6307 | Device Screen Lock Status | RespironicsEsprit
6376 | High Leak Alarm | RespironicsEsprit
6379 | Ratio of Inspiration Time to Total Breath Cycle | RespironicsEsprit
9223 | NPPV E-Cycle Type | RespironicsEsprit
2092 | Inspired Minute Volume | TaemaA
2434 | Spontaneous Expired Minute Volume | TaemaA
14 | Percent SpO2 | DragerMedibus
15 | SpO2 pulse rate | DragerMedibus
20 | EtCO2 | DragerMedibus
62 | VM expiré mesuré | DragerMedibus
584 | Ventilation Mode | DragerMedibus
608 | EtCO2 mesurée | DragerMedibus
616 | Airway Pressure | DragerMedibus
754 | Device Name | DragerMedibus
1320 | Mandatory respiratory rate setting | DragerMedibus
5044 | Tidal Volume Setting | DragerMedibus
1332 | Pressure Support Level Aboce PEEP Setting | DragerMedibus
1333 | Vminute spontané | DragerMedibus
1349 | I/E ratio - I | DragerMedibus
1350 | I/E ratio - E | DragerMedibus
1381 | Inspiratory flow setting | DragerMedibus
1383 | Flow trigger setting | DragerMedibus
1384 | Respiration Rate setting | DragerMedibus
1386 | Intermittent PEEP Setting | DragerMedibus
1387 | Low pressure setting | DragerMedibus
1388 | Low time setting | DragerMedibus
1389 | High pressure setting | DragerMedibus
1390 | High time setting | DragerMedibus
1391 | Apnea time setting | DragerMedibus
1392 | Spontaneous breath setting | DragerMedibus
1393 | Max inspired pressure setting | DragerMedibus
1396 | Tachypnea Respiratory Rate setting | DragerMedibus
1422 | Rapid Shallow Breathing Index | DragerMedibus
1596 | Minimum pressure | DragerMedibus
2102 | Temps insp réglé | DragerMedibus
2104 | PEEP Setting | DragerMedibus
2110 | FiO2 Setting | DragerMedibus
2324 | Inspired Tidal Volume | DragerMedibus
2325 | Expired Tidal Volume | DragerMedibus
2565 | Plateau Airway Pressure | DragerMedibus
2583 | I/E Ratio Setting | DragerMedibus
2771 | Tidal Volume Setting | DragerMedibus |  | Evita Infinity V500 [MEDIBUS.X]
2784 | ASB ramp time setting | DragerMedibus
2794 | VT inspiré réglé | DragerMedibus
2987 | Inspired Pressure Setting | DragerMedibus
3853 | Patient Type | DragerMedibus
3970 | Inspiratory spont support volume | DragerMedibus
4011 | Flow assist setting | DragerMedibus
4012 | Volume assist setting | DragerMedibus
4013 | Backup Frequency Setting | DragerMedibus
4014 | Backup Tidal Volume Setting | DragerMedibus
6389 | Endotracheal Tube Size | DragerMedibus
6702 | Inspiratory Component I:E ratio Setting | DragerMedibus
6703 | Expiratory Component I:E ratio Setting | DragerMedibus
6735 | Lung Elastance | DragerMedibus
7637 | Artificial Airway Compensation Status | DragerMedibus
7931 | End Tidal CO2 | DragerMedibus
9146 | End Inspiratory Pressure | DragerMedibus
9475 | Volume of Leakage | DragerMedibus
9477 | Inspiratory Component Of Spontaneous I:E ratio | DragerMedibus
9478 | Expiratory Component Of Spontaneous I:E ratio | DragerMedibus
997 | ModuleStatusStep | FreseniusVialC
1087 | BolusInfusedVolume | FreseniusVialC
1447 | PVolInf | FreseniusVialC
1448 | Rate | FreseniusVialC
1550 | TargetConcentration | FreseniusVialC
1880 | TotVol | FreseniusVialC
2055 | Drug | FreseniusVialC
2755 | Rate | FreseniusVialC
3609 | ModuleStatus | FreseniusVialC
3655 | InfusionPumpType | FreseniusVialC
5497 | ModeStatus | FreseniusVialC
6210 | SerialNo | FreseniusVialC
1 | Heart Rate | PhilipsIIC
922 | SimpleBolusVol | FreseniusE
1444 | SerialNumber | FreseniusE
1450 | InfusionPumpType | FreseniusE
1451 | PumpInfusionStatus | FreseniusE
3638 | InfDoseRate | FreseniusE
4254 | InfusionRate | FreseniusE
5490 | TotVol | FreseniusE
3642 | PumpStatus | KendallA
7551 | FeedRate | KendallA
7550 | TotalVolume | KendallA
2201 | SerialNumber | KendallA
9009 | ErrorStatus | KendallA
3003 | Blood Flow Rate Setting | EdwardsA
4229 | Fluid Removal Cumulated Volume | EdwardsA
3024 | Access Pod Pressure | EdwardsA
3025 | Return Pod Pressure | EdwardsA
3029 | Transmembrane Pressure | EdwardsA
21 | Inspired CO2 (InCO2) Pressure | TaemaA
22 | Respiration Rate | TaemaA
114 | CO2 Concentration Wave | TaemaA
115 | O2 Concentration Wave | TaemaA
118 | Airway Flow Wave | TaemaA
169 | Patient Age | TaemaA
541 | Minimum Tidal Volume Threshold | TaemaA
544 | Minimum Respiration Rate Threshold Setting | TaemaA
618 | N2O Concentration Wave | TaemaA
638 | Apnea Index | TaemaA
756 | Patient Height | TaemaA
757 | Patient Weight | TaemaA
784 | Inspiration Time Percent Setting | TaemaA
1177 | Identified Agent Name | TaemaA
1187 | Low Inspired Tidal Volume Alarm | TaemaA
1188 | Low Expired Tidal Volume Alarm | TaemaA
1321 | Tidal Volume Setting | TaemaA
1324 | Sigh Time Setting | TaemaA
1326 | Sigh Number Setting | TaemaA
1327 | Sigh Pressure Limit Setting | TaemaA
1328 | Apnea Tidal Volume Setting | TaemaA
1329 | Apnea Respiration Rate Setting | TaemaA
1360 | Nebulizer Activation Status | TaemaA
1370 | Device Low Battery Alarm | TaemaA
1371 | Apnea Alarm | TaemaA
1395 | Inspiratory Pressure Trigger Setting | TaemaA
1416 | Peak Inspiratory Flow | TaemaA
1417 | Peak Expiratory Flow | TaemaA
1520 | Inspired N2O | TaemaA
1538 | O2 Sensor Alarm | TaemaA
1647 | Expired Xenon | TaemaA
1648 | Airway Xenon Concentration | TaemaA
1649 | Maximum Support Pressure Setting | TaemaA
1657 | Expiratory Trigger Level Setting | TaemaA
1658 | Ventilation Boost Duration | TaemaA
1659 | Ventilation Boost Coefficient | TaemaA
1663 | Low PEEP Cycle Setting | TaemaA
1664 | Nebulizer Flow Setting | TaemaA
1666 | Inspired Xenon Setting | TaemaA
1667 | Sigh Coefficient Setting | TaemaA
1668 | Air Concentration Wave | TaemaA
1669 | Xenon Concentration Wave | TaemaA
1673 | Leakage of Pressure (Pleak) | TaemaA
1674 | Cumulated Inspiratory Time | TaemaA
1675 | Cumulated Expiratory Time | TaemaA
1677 | Cumulated Respiration Time With Low FiO2 | TaemaA
1678 | Cumulated Respiration Time With Low SaO2 | TaemaA
1679 | Cumulated Respiration Time With Leakage | TaemaA
1891 | Device Power Supply Status | TaemaA
1913 | Device Serial Number | TaemaA
2063 | Cumulated Time in Apnea | TaemaA
2064 | Cumulated Time in Hypopnea | TaemaA
2065 | Cumulated Time in Boost Ventilation | TaemaA
2066 | Low Inflation Airway FlowSetting | TaemaA
2067 | Low Inflation Tidal Volume | TaemaA
2068 | Low Inflation Inspiratory Pressure | TaemaA
2077 | Airway Gas Flow Rate | TaemaA
2078 | Inspired Airway Pressure | TaemaA
2088 | SIMV Respiration Rate Setting | TaemaA
2117 | High Airway Pressure Alarm | TaemaA
2120 | Battery Alarm | TaemaA
2351 | End Tidal O2 | TaemaA
2359 | Inspired Agent Concentration | TaemaA
2360 | End Tidal Agent Concentration | TaemaA
2381 | Breathing Circuit Type | TaemaA
2382 | Ventilator Operation Mode | TaemaA
2542 | Airway Pressure Wave | TaemaA
2546 | Low Expired Minute Volume Alarm | TaemaA
2551 | End Tidal N2O | TaemaA
2573 | Ventilator Control Mode | TaemaA
2582 | Target Respiration Rate | TaemaA
2590 | Generic Device Alarm | TaemaA
2759 | Support Pressure Setting | TaemaA
2776 | Total PEEP | TaemaA
2777 | Auto PEEP | TaemaA
2879 | Device Software Revision | TaemaA
2960 | Tidal Volume Target | TaemaA
2964 | I:E Ratio | TaemaA
2968 | Plateau Airway Pressure | TaemaA
2976 | Patient Disconnect Alarm | TaemaA
3470 | Pressure Trigger Actual Value | TaemaA
3474 | Expiratory Resistance | TaemaA
3476 | Ventilation Limit Pressure Measurement | TaemaA
3480 | Low Inflation Activation Status | TaemaA
3481 | Low Suflation Activation Status | TaemaA
3482 | Aspiration Activation Status | TaemaA
3483 | Automatic Ventilation Enable Status | TaemaA
3485 | Number of Inspiratory Cycle Trigged by Ventilator | TaemaA
3486 | Number of Expiratory Cycle Trigged by Ventilator | TaemaA
3487 | Number of Boost Ventilation | TaemaA
3488 | Expiratory Pause Activation Status | TaemaA
3489 | Inspiratory Pause Activation Status | TaemaA
3789 | Arterial O2 Saturation (SaO2) | TaemaA
3901 | Airway Peak Flow | TaemaA
3922 | Expiratory Hold Status | TaemaA
3961 | Plateau Time Setting | TaemaA
4004 | Breathing System Leakage | TaemaA
4022 | Inspired Xenon | TaemaA
4029 | Inspired Agent Setting | TaemaA
4367 | Respiration Rate Setting | TaemaA
4371 | Sigh Tidal Volume Setting | TaemaA
4383 | Static Lung Compliance | TaemaA
4384 | Static Lung Resistance | TaemaA
4385 | Dynamic Lung Compliance | TaemaA
4386 | Dynamic Lung Resistance | TaemaA
4391 | Apnea Ventilation Alarm | TaemaA
4992 | Maximum Inspired Pressure Setting | TaemaA
4997 | Continuous Positive Airway Pressure (CPAP) Setting | TaemaA
5010 | Inspiratory Pressure Setting | TaemaA
5029 | Pressure Ramp Setting (ASB Ramp) | TaemaA
5178 | Number of Inspiratory Cycle Trigged by Patient | TaemaA
5179 | Number of Expiratory Cycle Trigged by Patient | TaemaA
5359 | Airway Peak Flow Setting | TaemaA
5386 | Work of Breathing | TaemaA
5523 | Low Expiration PEEP Setting | TaemaA
5577 | Hypopnea Index | TaemaA
5618 | Number of SaO2 Limitation Reached | TaemaA
5619 | SaO2 Low Threshold | TaemaA
5712 | Low EtCO2 Alarm | TaemaA
5713 | High EtCO2 Alarm | TaemaA
5738 | Inspired N2O Setting | TaemaA
5746 | Inspired 2nd Agent Concentration Setting | TaemaA
5946 | Waveform Shape Setting | TaemaA
5947 | Airway Flow Rate Setting | TaemaA
5985 | Nurse Call Alarm | TaemaA
6164 | General Alarm Code | TaemaA
6276 | NPPV Expiratory Trigger Level Setting | TaemaA
6397 | Expired 2nd Agent | TaemaA
6701 | Expiratory Time Setting | TaemaA
6746 | Total Respiration Duration Setting | TaemaA
7927 | Inspired 2nd Agent Concentration | TaemaA
8379 | Peak Pressure | TaemaA
8405 | Airway Volume Wave | TaemaA
8548 | Identified 2nd Agent Name | TaemaA
8579 | Plimit Reached Alarm | TaemaA
8589 | High Expired Tidal Volume Alarm | TaemaA
8596 | Low FiO2 Alarm | TaemaA
8597 | High FiO2 Alarm | TaemaA
8598 | Low Respiration Rate Alarm | TaemaA
8599 | High Respiration Rate Alarm | TaemaA
8600 | CO2 Apnea Alarm | TaemaA
8601 | High FiCO2 Alarm | TaemaA
8606 | Battery Failure Alarm | TaemaA
9154 | Humidifier Activation Status | TaemaA
9155 | Nebulizer Time Setting | TaemaA
9293 | Pressure Rise Time Setting | TaemaA
9307 | Nebulizer Cycle Setting | TaemaA
9310 | Breathing Circuit Compliance | TaemaA
9353 | Low PEEP Setting | TaemaA
9355 | Low PEEP Time Setting | TaemaA
9358 | Number of Breath Cycles | TaemaA
9485 | Maximum Inspiratory Time Setting | TaemaA
9584 | High Expired Minute Volume Alarm | TaemaA
4350 | FeedRate | FreseniusD
539 | Machine ID | BaxterC
850 | Disposable Brand Name | BaxterC
854 | Total Number of Used Disposable | BaxterC
946 | Cumulated Syringe Infused Volume | BaxterC
966 | Current Therapy Time | BaxterC
1011 | Therapy Running Status | BaxterC
1043 | Manually Entered Hematocrit | BaxterC
1246 | Hematocrit | BaxterC
1929 | Patient ID | BaxterC
2595 | General Alarm Status | BaxterC
2898 | Patient Weight | BaxterC
2997 | Blood Leak Detector Signal 1 | BaxterC
2998 | Blood Leak Detector Signal 2 | BaxterC
2999 | Blood Leak Detector Signal Difference | BaxterC
3000 | Blood Leak Detector Signal Average | BaxterC
3001 | Blood Leak Detector Normalization Value | BaxterC
3005 | Dialysate Flow Rate Setting | BaxterC
3006 | Fluid Removal Setting
3007 | Effluent Flow Rate Setting | BaxterC
3008 | Anticoagulant Delivery Method | BaxterC
3026 | Filter Pod Pressure | BaxterC
3027 | Effluent Pod Pressure | BaxterC
3047 | Next Intervention Time (hours) | BaxterC
3048 | Next Intervention Time (minutes) | BaxterC
3049 | Next Intervention Type | BaxterC
3050 | Therapy Type | BaxterC
3168 | Fluid Removal Actual Rate | BaxterC
3248 | Generic Venous Line Pressure | BaxterC
3252 | Total Replacement Cumulated Volume | BaxterC
3270 | Total Replacement Dosage Cumulated Value | BaxterC
3274 | Filtration Fraction | BaxterC
3275 | Plasma Cumulated Volume | BaxterC
3317 | Effluent Dosage Cumulated Value | BaxterC
3323 | Filtration Dosage Cumulated Value | BaxterC
3325 | Pre-delivered Total Liquid Cumulated Volume | BaxterC
3337 | Pre-delivered Total Liquid Dosage Cumulated Value | BaxterC
3339 | Replacement Dosage Post-delivered Cumulated Value | BaxterC
3436 | Replacement Pre-delivered Percentage | BaxterC
3437 | Replacement Post-delivered Percentage | BaxterC
4226 | Replacement Cumulated Volume | BaxterC
4227 | Dialysate Cumulated Volume | BaxterC
4228 | Effluent Cumulated Volume | BaxterC
4315 | Force Applied to Syringe Pump | BaxterC
4347 | Therapy Remaning Time | BaxterC
4348 | Therapy Treatment Time | BaxterC
5855 | Blood Flow Rate | BaxterC
5856 | Dialysate Flow Rate | BaxterC
5863 | Dialysate Temperature | BaxterC
5871 | Citrate Dose Setting | BaxterC
5873 | Citrate Solution Concentration | BaxterC
5874 | Calcium Solution Concentration | BaxterC
5885 | Replacement Solution Calcium Concentration | BaxterC
5886 | Citrate Acid Concentration | BaxterC
5887 | Citrate Load Setting | BaxterC
845892 | Bicarbonate Conductivity | BaxterC
7438 | Generic Arterial Line Pressure | BaxterC
7979 | Dialysate Conductivity | BaxterC
7986 | Calcium Flow Rate Setting | BaxterC
7987 | Calcium Compensation Setting | BaxterC
8252 | Syringe Force ADC Value | BaxterC
8792 | Fifth Pod Pressure | BaxterC
8793 | Pressure Drop | BaxterC
8794 | Pre-blood Pump Rotation Rate | BaxterC
8795 | Replacement Pump Rotation Rate | BaxterC
8796 | Dialysate Pump Rotation Rate | BaxterC
8797 | Effluent Pump Rotation Rate | BaxterC
8798 | Blood Pump Rotation Rate | BaxterC
8799 | Weight on Pre-blood Scale | BaxterC
8800 | Weight on Replacement Scale | BaxterC
8801 | Weight on Dialysate Scale | BaxterC
8802 | Weight on Effluent Scale | BaxterC
8803 | Replacement Pre-delivered Rate Setting | BaxterC
8804 | Replacement Post-delivered Rate Setting | BaxterC
8805 | Pre-blood Flow Rate Setting | BaxterC
8806 | Patient Weight Balance Setting | BaxterC
8807 | Anticoagulant Bolus Volume Setting | BaxterC
8808 | Anticoagulant Bolus Interval Setting | BaxterC
8809 | Anticoagulant Infusion Rate Setting | BaxterC
8810 | Ultrafiltration Ratio Setting | BaxterC
8811 | Therapy Elapsed Time | BaxterC
8813 | Processed Blood Volume | BaxterC
8814 | Replacement Pre-delivered Cumulated Volume | BaxterC
8815 | Replacement Post-delivered Cumulated Volume | BaxterC
8816 | Pre-blood Cumulated Volume | BaxterC
8817 | Patient Weight Cumulated Value | BaxterC
8818 | Pre-blood Weight ADC Value | BaxterC
8819 | Replacement Weight ADC Value | BaxterC
8820 | Dialysate Weight ADC Value | BaxterC
8821 | Effluent Weight ADC Value | BaxterC
8822 | Access Pressure ADC Value | BaxterC
8823 | Filter Pressure ADC Value | BaxterC
8824 | Return Pressure ADC Value | BaxterC
8825 | Effluent Pressure ADC Value | BaxterC
8826 | Fifth Pod Pressure ADC Value | BaxterC
8827 | Blood Pump Counts | BaxterC
8828 | PBP Pump Counts | BaxterC
8829 | Replacement Pump Counts | BaxterC
8830 | Dialysate Pump Counts | BaxterC
8831 | Effluent Pump Counts | BaxterC
8832 | PWM Normalization Value | BaxterC
8833 | PWM Actual Value | BaxterC
8834 | Encoder Pulses of Syringe Pump | BaxterC
8835 | Syringe Speed | BaxterC
8836 | Syringe Pump Overload Threshold | BaxterC
8837 | Arps Reference 1 | BaxterC
8838 | Arps Reference 2 | BaxterC
8839 | Arps Reference 3 | BaxterC
8840 | Patient Sensor Value 1 | BaxterC
8841 | Patient Sensor Value 2 | BaxterC
8842 | Patient Sensor Value 3 | BaxterC
8843 | Patient Sensor Value 4 | BaxterC
8844 | Voltage AD Value 1 | BaxterC
8845 | Voltage AD Value 2 | BaxterC
8846 | Voltage AD Value 3 | BaxterC
8847 | Voltage AD Value 4 | BaxterC
8848 | Voltage AD Value 5 | BaxterC
8849 | Syringe Pump Slope | BaxterC
8850 | Syringe Pump Load Threshold | BaxterC
8851 | Maximum Volume Gain Setting | BaxterC
8852 | Excess Patient Fluid Limit | BaxterC
8853 | Patient Fluid Balance | BaxterC
8854 | PBP Method | BaxterC
8855 | Syringe Pump Overload Type | BaxterC
8856 | Therapy Operation Status | BaxterC
9638 | Filtration Cumulated Volume | BaxterC
3636 | Alarmstatus | FreseniusD
414 | Cardiac Output | PulsionA
519 | Central Venous Pressure (CVP) | PulsionA
585 | Patient Category | PulsionA
649 | Cardiac Index | PulsionA
650 | Stroke Volume | PulsionA
654 | Systemic Vascular Resistance | PulsionA
768 | Generic Error Code | PulsionA
1434 | Patient Body Surface Area | PulsionA
1435 | Systemic Vascular Resistance Index | PulsionA
1468 | O2 Consumption (VO2) | PulsionA
1472 | O2 Consumption Index | PulsionA
1710 | Cardiac Power Index (CCO) | PulsionA
1711 | Cardiac Power Output (CCO) | PulsionA
1720 | ICG Measurement Counter | PulsionA
1721 | Plasma Disappearance Rate | PulsionA
1722 | ICG Retention Rate | PulsionA
1730 | Cardiac Index ((Thermodilution) | PulsionA
1731 | Cardiac Output (Thermodilution) | PulsionA
1732 | Global Ejection Fraction (Thermodilution) | PulsionA
1733 | Global End-Diastolic Volum (Thermodilution) | PulsionA
1734 | Global End-Diastolic Volum Index (Thermodilution) | PulsionA
1735 | Pulmonary Vascular Permeability Index (Thermodilution) | PulsionA
1821 | Generic ICG Error | PulsionA
1930 | Patient Name | PulsionA
1943 | Predicted Patient Body Surface Area | PulsionA
1944 | Predicted Patient Weight | PulsionA
2255 | Device Date/Time | PulsionA
2259 | Arterial BP Systolic | PulsionA
2260 | Arterial BP Diastolic | PulsionA
2261 | Arterial BP Mean | PulsionA
2341 | Patient Blood Temperature | PulsionA
2342 | Injectate Temperature | PulsionA
2452 | O2 Delivery (DO2) | PulsionA
2462 | SvO2 Alarm | PulsionA
2819 | SvO2 Calibration Status | PulsionA
2915 | Ejection Fraction | PulsionA
3184 | Alternate Patient ID | PulsionA
3877 | Device Protocol Revision | PulsionA
4532 | Stroke Volume Variation | PulsionA
4575 | O2 Delivery Index (DO2I) | PulsionA
4865 | Cardiac Function Index (Thermodilution) | PulsionA
4866 | Intrathoracic Blood Volume (Thermodilution) | PulsionA
4867 | Intrathoracic Blood Volume Index (Thermodilution) | PulsionA
4868 | Extravascular Lung Water (Thermodilution) | PulsionA
4869 | Extravascular Lung Water Index (Thermodilution) | PulsionA
5072 | Intrathoracic Blood Volume (ITBV) | PulsionA
5073 | Intrathoracic Blood Volume Index (ITBI) | PulsionA
5074 | Extravascular Lung Water | PulsionA
5075 | Extravascular Lung Water Index | PulsionA
5076 | Global End Diastolic Volume | PulsionA
5077 | Global End Diastolic Volume Index | PulsionA
5078 | Cardiac Function Index | PulsionA
5642 | SvO2 Calibration Data | PulsionA
5684 | Continuous Cardiac Output (CCO) Alarm | PulsionA
6403 | Pulse Contour Cardiac Output | PulsionA
6404 | Thermodilution Measurement Status | PulsionA
6407 | Index Of Left Ventricular Contractility (dPmx) | PulsionA
6410 | Mean Transit Time (MTt) | PulsionA
6411 | Down Slope Time | PulsionA
6422 | Temperature Difference (Thermodilution) | PulsionA
6424 | Injectate Temperature (Thermodilution) | PulsionA
6428 | PICCO Catheter | PulsionA
6434 | Pulse Pressure Variation | PulsionA
6493 | Pulmonary Vascular Permeability Index | PulsionA
6533 | Patient Gender | PulsionA
6689 | Pulse Contour Cardiac Index | PulsionA
6690 | Thermodilution Measurement Counter | PulsionA
6692 | Right to Left Heart Shunt Fraction | PulsionA
6694 | Arterial Blood Pressure Wave | PulsionA
6695 | Injectate Volume Setting | PulsionA
6696 | Stroke Volume Min | PulsionA
6697 | Stroke Volume Max | PulsionA
6698 | Stroke Volume Index | PulsionA
6699 | Stroke Volume Mean | PulsionA
7823 | Central Venous O2 Saturation (ScvO2) | PulsionA
7941 | SpO2 Alarm | PulsionA
2907 | Patient Skin Temperature | MTREA | LOC_SKN
3291 | Patient Temperature Setting | MTREA
651 | Stroke Volume Index | DeltexA
6412 | Blood Minute Distance | DeltexA
6413 | Blood Stroke Distance | DeltexA
6414 | Flow Time To Peak | DeltexA
6415 | Blood Mean Acceleration | DeltexA
8117 | Corrected Flow Time | DeltexA
8118 | Peak Velocity | DeltexA
1033 | Air Bubble Detection State | XeniosA
1869 | Module State | XeniosA
2132 | AC Power Supply Failure Alarm | XeniosA
2899 | Flow Sensor Type | XeniosA
3052 | Device Screen State | XeniosA
3267 | Pulsatile Pulse Percentage Setting | XeniosA
3288 | Generic Pump Rotation Speed | XeniosA
3335 | Pulsatile Simulated Frequency Setting | XeniosA
3691 | HLM System Control Module Technical Alarm | XeniosA
3696 | Generic Pump Running Status | XeniosA
3701 | Generic Pump Flow Rate Setting | XeniosA
3702 | Generic Pump Rotation Speed Setting | XeniosA
3705 | Generic Pump Flow Alarm | XeniosA
5233 | Blood Level Measurement Status | XeniosA
7244 | Generic Pressure Line Value | XeniosA
7945 | Pulsatile Pump Speed Amplitude Setting | XeniosA
9266 | Generic ECG Alarm | XeniosA
965 | Cumulated Therapy Time | FreseniusG
973 | Device Communication Module Software Revision | FreseniusG
1012 | Device Communication Module Name | FreseniusG
1013 | Device Communication Module Serial Number | FreseniusG
1014 | Device Communication Module Hardware Revision | FreseniusG
1059 | Anticoagulant Current Continuous Infused Volume | FreseniusG
1060 | Anticoagulant Cumulated Continuous Infused Volume | FreseniusG
1089 | Anticoagulant Current Bolus Infused Volume | FreseniusG
1090 | Anticoagulant Cumulated Bolus Infused Volume | FreseniusG
2003 | Therapy Options | FreseniusG
2022 | Device System Code | FreseniusG
2200 | Device Hardware Revision | FreseniusG
3004 | Replacement Flow Rate Setting | FreseniusG
3440 | Recall of Stored Data Set | FreseniusG
3593 | Device Communications Status | FreseniusG
3628 | Therapy Starting Time | FreseniusG
3654 | Module Software Revision | FreseniusG
3829 | Device Total Operation Time | FreseniusG
3844 | Device Screen Display Mode | FreseniusG
4365 | Device Communication Mode | FreseniusG
4485 | Device Communication Software Revision | FreseniusG
5849 | Therapy Duration Setting | FreseniusG
5860 | Blood Sensed Status | FreseniusG
5867 | Filtration Volume Setting | FreseniusG
5868 | Fluid Removal Rate Setting | FreseniusG
5869 | Dialysate Temperature Setting | FreseniusG
5870 | Plasma Volume Setting | FreseniusG
5872 | Calcium Dose Setting | FreseniusG
5875 | Citrate Flow Rate | FreseniusG
5876 | Calcium Flow Rate | FreseniusG
5877 | Citrate Current Volume | FreseniusG
5878 | Citrate Cumulated Volume | FreseniusG
5879 | Calcium Current Volume | FreseniusG
5880 | Calcium Cumulated Volume | FreseniusG
5881 | Filtration Fluid Current Balance | FreseniusG
5882 | Filtration Fluid Cumulated Balance | FreseniusG
5883 | Replacement Current Bolus Volume | FreseniusG
5884 | Replacement Cumulated Bolus Volume | FreseniusG
6768 | Device Quick Test Status | FreseniusG
7982 | Patient Fluid Current Balance | FreseniusG
7983 | Filtration Current Volume | FreseniusG
7984 | Fluid Removal Current Volume | FreseniusG
7985 | Replacement Current Volume | FreseniusG
8696 | Generic Message Text | FreseniusG
8967 | Case ID | FreseniusG
9522 | Device Manufacturer | FreseniusG
9644 | Prefilter Pod Pressure | FreseniusG
9662 | Device Location | FreseniusG