## Sheet1
ID | Label | Unit | Description | Type | Group | Device | Source
1 | Heart Rate | 1/min | The MeasurementTime of BP variables are only updated when a new measurement is performed. In between measurements, the last valid values are sent repeatedly. | Long | VitalSigns | Common
This variable is associated with SourceID identifier.
2 | NIBP Systolic | mmHg | The MeasurementTime of BP variables are only updated when a new measurement is performed. In between measurements, the last valid values are sent repeatedly. | Long | VitalSigns | Common
3 | NIBP Diastolic | mmHg | The MeasurementTime of BP variables are only updated when a new measurement is performed. In between measurements, the last valid values are sent repeatedly. | Long | VitalSigns | Common
456 | Dialysate Inlet Pressure | mmHg |  | Long | VitalSigns | Common
457 | Dialysate Outlet Pressure | mmHg |  | Long | VitalSigns | Common
650 | Stroke Volume | mL |  | Long | VitalSigns | Common
757 | Patient Weight | kg |  | Double | PatientInfo | Common
1011 | Therapy Running Status | unitless | Possible values: | Long | DeviceInfo | Common
0: No treatment running
32: Treatment running
3003 | Blood Flow Rate Setting | mL/min |  | Long | Settings | Common
3006 | Fluid Removal Volume Setting | mL |  | Long | Settings | Common
3029 | Transmembrane Pressure | mmHg |  | Long | VitalSigns | Common
3168 | Fluid Removal Actual Rate | mL/h |  | Long | VitalSigns | Common
3236 | Relative Blood Volume Change | % |  | Double | VitalSigns | Common
3248 | Generic Venous Line Pressure | mmHg |  | Long | VitalSigns | Common
3479 | Equivalent Dialysate Sodium (Na) | mmol/L |  | Long | VitalSigns | Common
3493 | Desired Equivalent Dialysate Sodium (Na) | mmol/L |  | Long | Settings | Common
3627 | Venous Pump Flow | mL/min |  | Long | VitalSigns | Common
3704 | Arterial/Main Pump Flow | mL/min |  | Long | VitalSigns | Common
4226 | Replacement Cumulated Volume | L |  | Double | VitalSigns | Common
4229 | Fluid Removal Cumulated Volume | mL |  | Long | VitalSigns | Common
4236 | Transmembrane Pressure Setting | mmHg |  | Long | Settings | Common
4237 | Desired Blood Volume Change Percentage | % |  | Double | Settings | Common
4240 | Plasma Sodium (Na) | mmol/L |  | Long | VitalSigns | Common
4241 | Dilution Ratio (Qf/Qb) | unitless |  | Double | VitalSigns | Common
4347 | Therapy Remaining Time | s |  | Long | OtherMeasuredData | Common
5850 | Anticoagulant Cumulated Volume | mL |  | Double | VitalSigns | Common
5853 | Delivered Treatment Effectiveness (Kt/V) | unitless |  | Double | VitalSigns | Common
5855 | Blood Flow Rate | mL/min |  | Long | VitalSigns | Common
5856 | Dialysate Flow Rate | mL/min |  | Long | VitalSigns | Common
5861 | Effective Blood Volume Processed (Kt) | L |  | Double | VitalSigns | Common
5863 | Dialysate Temperature | °C |  | Double | VitalSigns | Common
5884 | Replacement Cumulated Bolus Volume | mL |  | Long | VitalSigns | Common
5888 | Dialysate pH | pH |  | Double | VitalSigns | Common
5889 | Ionic Clearance | mL/min | Ionic Dialysance | Long | VitalSigns | Common
5890 | Ionic Mass Balance | mmol/L |  | Long | VitalSigns | Common
5892 | Bicarbonate Conductivity (8.4%) | mS/cm |  | Double | VitalSigns | Common
5899 | Actual Anticoagulant Rate | mL/h |  | Double | VitalSigns | Common
6643 | Substitution Fluid And Blood Ratio (Qi/Qb) | unitless |  | Long | Measurements | Common
7438 | Generic Arterial Line Pressure | mmHg |  | Long | VitalSigns | Common
7979 | Dialysate Conductivity | mS/cm |  | Double | VitalSigns | Common
7988 | Plasma Conductivity | mS/cm |  | Double | VitalSigns | Common
8811 | Therapy Elapsed Time | min |  | Long | OtherMeasuredData | Common
8813 | Processed Cumulated Blood Volume | L |  | Double | VitalSigns | Common
8856 | Therapy Operation Status | unitless | Consult detailed help for more information on this variable | Long | DeviceInfo | Common
9642 | Replacement Flow Rate | mL/h |  | Long | VitalSigns | Common