## Sheet1
ID | Label | Unit | Description | Type | Group | Device | Source
1378 | Device Configuration | unitless | For CritiCool: This variable contains information on the fixed step rate at which the patient gradually warms up. For Allon: This variable contains information on if the temperature alarms are on or off.Consult detailed help for more information on this variable | String | DeviceInfo | Common
2255 | Device Date/Time | unitless | Format: YYYYMMDDHHMMSS | String | DeviceInfo | Common
2855 | Device Status | unitless | This variable indicated if the water flow is through the patient wrap (garment) or is circulating internally (bypass). Possible values: 0 = Bypass 1 = Garment | Boolean | DeviceInfo | Common
2879 | Device Software Revision | unitless | Format: XY.ZZ | String | DeviceInfo | Common
2907 | Patient Temperature | °C | This variable is associated with SourceID identifier. | Double | VitalSigns | Common
3291 | Patient Temperature Setting | °C |  | Double | Settings | Common
4596 | System Pressure High Alarm | unitless | Possible values: 0 = Active 1 = Not Active | Boolean | Alarms | Common
5235 | Low Water Level Alarm | unitless | Low water level alarm Possible values: 0 = On 1 = Off | Boolean | Alarms | Common
7452 | Device Operation Mode | unitless | Consult detailed help for more information on this variable | String | DeviceInfo | Common
8678 | General Temperature Alarm | unitless | Consult detailed help for more information on this variable | Double | Alarms | Common