## Sheet1
ID | Label | Unit | Description | Type | Group | Device | Source
542 | Maximum Tidal Volume Limit | - | Possible units: mL, L | Double | Settings | Common
955 | Battery Running Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
2032 | Volume Not Delivered Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
2445 | Patient Rebreathing Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
2595 | General Alarm Status | unitless | Contains every alarm code that is currently active | Long (Multiset) | Alarms | Common
Consult detailed help for more information on this variable
2784 | ASB Ramp Time Setting | - | Possible units: msec, sec, min | Double | Settings | Common
3147 | Maximum Lung Elastance Setting | - | Possible units: cmH2O/L, mBar/L | Double | Settings | Common
3203 | Maximum Airway Resistance Setting | - | Possible units: cmH2O/L/s, mBar/L/s | Double | Settings | Common
3592 | Low Airway Flow Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | V60 (PVOI)
3640 | Pressure Alarm Delay | - |  | Double | DeviceInfo | Common
4468 | Patient Alarm Global State | unitless | Alarm disabled status | Long | Alarms | V60 (PVOI)
Consult detailed help for more information on this variable
4957 | Trigger Sensitivity Setting | - |  | Double | Settings | Common
6288 | Percent of Patient Triggered Breaths | % |  | Double | OtherMeasuredData | Common
6935 | Estimated Patient Circuit Leakage | - | Possible units: mL/min, L/min | Double | OtherMeasuredData | Common
7835 | Ventilation Comfort Mode Flex Setting | - |  | Double | Settings | Common
8153 | IPAP Minimum Pressure Setting | - | Possible units: cmH2O, hPa, kPa, mBar, mmHg | Double | Settings | Common
8261 | Patient Expiratory Port Type | unitless | Consult detailed help for more information on this variable | Long | DeviceInfo | Common
8590 | Vt Not Achieved Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
8646 | Patient Interface Type | unitless | Consult detailed help for more information on this variable | Long | DeviceInfo | Common
8653 | Tidal Volume Exceeded Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
9882 | Check Maximum Pressure Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
9955 | Maximum IPAP Setting | - | Possible units: cmH2O, hPa, kPa, mBar, mmHg | Double | Settings | Common
31065 | Low Ventilator Total Respiration Rate Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
32211 | Low Expired Tidal Volume Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
32221 | Low Expired Minute Volume Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
32311 | Low Peak Inspiratory Pressure Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
50203 | Device Model | unitless |  | String | DeviceInfo | Common
50212 | Device Software Revision | unitless |  | String | DeviceInfo | Common
51065 | Ventilator Total Respiration Rate | 1/min |  | Double | VitalSigns | Common
52127 | Inspiration Time Percentage | % |  | Double | VitalSigns | Common
52211 | Expired Tidal Volume | mL |  | Double | VitalSigns | Common
52221 | Expired Minute Volume | L/min |  | Double | VitalSigns | Common
52311 | Peak Inspiratory Pressure | cmH2O |  | Double | VitalSigns | Common
52911 | Airway Flow Waveform | L/min |  | Double | Waveforms | Common
52912 | Airway Volume Waveform | mL |  | Double | Waveforms | Common
52913 | Airway Pressure Waveform | cmH2O |  | Double | Waveforms | Common
54011 | Ventilation Standby State | unitless |  | Boolean | VitalSigns | Common
54013 | Ventilation Mode | unitless | Consult detailed help for more information on this variable | String | Settings | Common
54021 | Ventilation Mode Primary | unitless | Consult detailed help for more information on this variable | String | Settings | Common
54022 | Ventilation Mode Options | unitless | Consult detailed help for more information on this variable | String | Settings | Common
54051 | Inspired O2 (FiO2) Setting | % |  | Double | Settings | Common
54061 | Ventilation Leakage Minute Volume | L/min |  | Double | VitalSigns | Common
54111 | Mandatory Respiratory Rate Setting | 1/min |  | Double | Settings | Common
54121 | Inspiratory Time Setting | s |  | Double | Settings | Common
54123 | lnspiratory Rise Time Setting | s |  | Double | Settings | Common
54151 | Inspired Tidal Volume Setting | mL |  | Double | Settings | Common
54172 | CPAP Setting | cmH2O |  | Double | Settings | Common
54231 | Inspiratory Flow Termination Setting | L/min | Auto-Trak sensitivity: set flow for cycling to exhalation | Double | Settings | Common
54351 | Proportional Support Level Setting | % |  | Double | Settings | Common
54381 | EPAP Setting | cmH2O |  | Double | Settings | Common
54382 | IPAP Setting | cmH2O |  | Double | Settings | Common
54624 | Fresh Gas Total Flow Rate Setting | L/min |  | Double | Settings | V60 (PVOI)
71065 | High Ventilator Total Respiration Rate Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
72211 | High Expired Tidal Volume Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
72311 | High Peak Inspiratory Pressure Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
90714 | Battery Low Alarm | unitless | This variable is associated with a ChannelID identifier. | Long | Alarms | Common
Consult detailed help for more information on this variable
90719 | Main Power Disconnected Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
92001 | Ventilator Patient Disconnected Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
92011 | Ventilator Inoperative Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
92021 | Ventilator Obstruction Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
92405 | Pressure Sensor Disconnected Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
92612 | O2 Supply Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
92631 | O2 Supply High Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common
92632 | O2 Supply Low Alarm | unitless | Consult detailed help for more information on this variable | Long | Alarms | Common