## Sheet1
ID | Label_ok | id_unit | unit
14 | SpO2 | 19 | %
19 | ECG Heart Rate | 1 | 1/min
22 | Respiration Rate | 159 | respirations/min
113 | Pleth Waveform | 139 | unitless
127 | ECG Measurement Status | 0 | -
169 | Patient Age | 71 | y
170 | Patient Sex | 139 | unitless
538 | Device Language | 139 | unitless
764* | Device Specification ID | 139 | unitless
765* | Device Specification Type | 139 | unitless
1220 | Patient Birth Date | 139 | unitless
1523 | Premature Ventricular Contractions | 386 | /min
1911 | Device Unique ID | 139 | unitless
1914 | Patient Bed ID | 139 | unitless
1929 | Patient ID | 139 | unitless
1930 | Patient Name | 139 | unitless
1942* | Patient Comment Text | 139 | unitless
2200 | Device Hardware Revision | 139 | unitless
2201 | Serial Number | 139 | unitless
2255 | Device Date/Time | 139 | unitless
2259 | Arterial BP Systolic | 9 | mmHg
2260 | Arterial BP Diastolic | 9 | mmHg
2261 | Arterial BP Mean | 9 | mmHg
2598 | Patient Admission Status | 139 | unitless
2821 | System General Status | 139 | unitless
2845 | Frequency | 87 | Hz
2855 | Device Status | 139 | unitless
2879 | Device Software Revision | 139 | unitless
2901 | Patient First Name | 139 | unitless
2907 | Patient Temperature | 13 | C
2995 | Device Altitude | 85 | m
3591 | Device Number | 139 | unitless
3639 | Manufacturers Name | 139 | unitless
3789 | Arterial O2 Saturation (SaO2) | 19 | %
3853 | Patient Type | 139 | unitless
3854 | Patient Pace Maker Status | 139 | unitless
4201* | Product Description | 139 | unitless
4457 | System Alarm Status | 139 | unitless
4458 | Patient Alarm Priority | 139 | unitless
4459 | Technical Alarm Priority | 139 | unitless
4460 | Audio Alarm Priority | 139 | unitless
4461* | Technical Alarm Source ID | 139 | unitless
4462* | Technical Alarm Global State | 139 | unitless
4463* | Technical Alarm Priority | 139 | unitless
4464* | Technical Alarm Flag | 139 | unitless
4465* | Technical Alarm Priority | 139 | unitless
4466* | Technical Alarm Description | 139 | unitless
4473 | Device Nomenclature Revision | 139 | unitless
4474 | Device Text Catalog Revision | 139 | unitless
4475 | Device Data Format | 139 | unitless
4476 | Device Operating Area | 139 | unitless
4510 | Perfusion Indicator | 139 | unitless
5141 | ECG Lead II Wave | 47 | mV
5142 | ECG Lead III Wave | 47 | mV
6339 | Patient BSA Formula | 139 | unitless
6394 | Pulse Rate from Plethysmogram | 1 | 1/min
6396 | ECG Ectopic Status | 0 | -
6544 | Patient Visit Number | 139 | unitless
6555 | Patient Height at Entered Time | 74 | cm
6557 | Patient Weight at Entered Time | 76 | kg
6567 | Patient Body Surface Area (BSA) | 81 | m2
7765 | Device Power Up Time | 4 | s
7777 | ABP Pulse Rate | 1 | 1/min
8339 | Patient Middle Names | 139 | unitless
8640* | Technical Alarm Internal Source ID | 139 | unitless
8641* | Technical Alarm Source Type | 139 | unitless
8642* | Device Technical Alarm | 139 | unitless
8857 | Arterial Blood Pressure (ABP) Wave | 9 | mmHg
8870 | Impedance Respiration Wave | 84 | Ohm
6266 | NPPV Mode Setting | 139 | unitless
6277 | NPPV O2 Concentration Setting | 19 | %
6307 | Device Screen Lock Status | 139 | unitless
172 | Device Time | 139 | unitless
171 | Device Date | 139 | unitless
6216 | Current Ventilation Type | 139 | unitless
4390 | Device Alarm Silence Status | 139 | unitless
26 | Device Inactivation Status | 139 | unitless
2978 | Low Minute Volume Alarm | 139 | unitless
6294 | O2 Valve Alarm | 139 | unitless
6293 | Air Valve Alarm | 139 | unitless
6292 | High Inspiratory Pressure Alarm | 139 | unitless
2975 | Apnea Alarm | 139 | unitless
6291 | Primary Alarm Failure | 139 | unitless
6290 | Nonvolatile Memory Failure Alarm | 139 | unitless
5975 | Battery Low Alarm | 139 | unitless
6305 | Low EPAP Alarm | 139 | unitless
1364 | Low PEEP Alarm | 139 | unitless
4378 | High Respiratory Rate Alarm | 139 | unitless
5973 | Circuit Occlusion Alarm | 139 | unitless
6303 | High Enclosure Temperature Alarm | 139 | unitless
4377 | Low Inspiratory Pressure Alarm | 139 | unitless
6289 | Safety Valve Alarm | 139 | unitless
6300 | Low Expired Spontaneous Tidal Volume Alarm | 139 | unitless
92001 | Ventilator Patient Disconnected Alarm | 139 | unitless
6299 | Low Tidal Volume Alarm | 139 | unitless
6376 | High Leak Alarm | 139 | unitless
92011 | Ventilator Inoperative Alarm | 139 | unitless
6296 | O2 Supply Alarm | 139 | unitless
2327 | Peak Inspiratory Pressure | 39 | cmH2O
1307 | Minute Volume | 31 | L
1306 | Tidal Volume | 26 | mL
5945 | Total Respiration Rate | 1 | 1/min
2761 | Percent of Inspiration Time to Total Breath Cycle | 19 | %
6379 | Ratio of Inspiration Time to Total Breath Cycle | 139 | unitless
6268 | NPPV Respiration Rate Setting | 1 | 1/min
6266 | NPPV Mode Setting | 139 | unitless
6279 | NPPV Inspiratory Pressure Lower Alarm Limit | 39 | cmH2O
6277 | NPPV O2 Concentration Setting | 19 | %
9223 | NPPV E-Cycle Type | 139 | unitless
6273 | NPPV I-Trigger Type | 139 | unitless
6272 | NPPV Rise Time Setting | 4 | s
6271 | NPPV Inspiratory Time Setting | 4 | s
6270 | Inspiratory Positive Airway Pressure (IPAP) Setting | 39 | cmH2O
6283 | Minute Volume Lower Alarm Limit | 31 | L
6282 | NPPV Respiratory Rate Upper Alarm Limit | 1 | 1/min
6281 | Tidal Volume Lower Alarm Limit | 26 | mL
6269 | Expiratory Positive Airway Pressure (EPAP) Setting | 39 | cmH2O
6288 | Percent of Patient Triggered Breaths | 19 | %
1312 | Breathing Circuit Total Leakage | 32 | L/min
4390 | Device Alarm Silence Status | 139 | unitless
6216 | Current Ventilation Type | 139 | unitless
26 | Device Inactivation Status | 139 | unitless
6307 | Device Screen Lock Status | 139 | unitless
172 | Device Time | 139 | unitless
171 | Device Date | 139 | unitless
6299 | Low Tidal Volume Alarm | 139 | unitless
92001 | Ventilator Patient Disconnected Alarm | 139 | unitless
6296 | O2 Supply Alarm | 139 | unitless
6294 | O2 Valve Alarm | 139 | unitless
6293 | Air Valve Alarm | 139 | unitless
6292 | High Inspiratory Pressure Alarm | 139 | unitless
6305 | Low EPAP Alarm | 139 | unitless
6291 | Primary Alarm Failure | 139 | unitless
6290 | Nonvolatile Memory Failure Alarm | 139 | unitless
6303 | High Enclosure Temperature Alarm | 139 | unitless
6300 | Low Expired Spontaneous Tidal Volume Alarm | 139 | unitless
92011 | Ventilator Inoperative Alarm | 139 | unitless
5975 | Battery Low Alarm | 139 | unitless
5973 | Circuit Occlusion Alarm | 139 | unitless
6289 | Safety Valve Alarm | 139 | unitless
2978 | Low Minute Volume Alarm | 139 | unitless
1364 | Low PEEP Alarm | 139 | unitless
2975 | Apnea Alarm | 139 | unitless
6376 | High Leak Alarm | 139 | unitless
4378 | High Respiratory Rate Alarm | 139 | unitless
4377 | Low Inspiratory Pressure Alarm | 139 | unitless
60 | Tidal Volume | 26 | mL
61 | Dynamic Compliance | 105 | L/bar
582 | Resistance | 106 | mbar/L/s
584 | Ventilation Mode | 139 | unitless
635 | Inspired O2 (FiO2) | 19 | %
754 | Device Name | 139 | unitless
775 | Inspiratory Component of I:E Ratio | 139 | unitless
776 | Expiratory Component of I:E Ratio | 139 | unitless
1189 | Positive End Expiratory Pressure (PEEP) | 44 | mbar
1190 | I:E Ratio | 139 | unitless
1197 | Message Text | 139 | unitless
1306 | Tidal Volume | 26 | mL
1307 | Minute Volume | 32 | L/min
1314 | Spontaneous Respiration Rate | 1 | 1/min
1320 | Mandatory Respiration Rate Setting | 1 | 1/min
1321* | Tidal Volume Setting | 26 | mL
1381 | Inspiratory Flow Setting | 32 | L/min
1383 | Inspiratory Flow Trigger Setting | 32 | L/min
1415 | Mean Airway Pressure | 44 | mbar
1426 | Intrinsic PEEP | 44 | mbar
1569 | Minimum Airway Pressure | 44 | mbar
1570 | P0.1 Occlusion Pressure | 44 | mbar
1571 | Lung Volume Trapped (TrpVol) | 26 | mL
1761 | Airway Resistance | 106 | mbar/L/s
2092 | Inspired Minute Volume | 32 | L/min
2102 | Inspiratory Time Setting | 4 | s
2104 | Positive End Expiratory Pressure (PEEP) Setting | 44 | mbar
2110 | Inspired O2 (FiO2) Setting | 19 | %
2255 | Device Date/Time | 139 | unitless
2324 | Inspired Tidal Volume | 26 | mL
2325 | Expired Tidal Volume | 26 | mL
2326 | Expired Minute Volume | 32 | L/min
2382 | Ventilator Operation Mode | 139 | unitless
2416 | Spontaneous Inspired Tidal Volume | 26 | mL
2423 | Dynamic Compliance Over Last 20% Breath | 139 | unitless
2432 | Expired Spontaneous Tidal Volume | 26 | mL
2433 | Mechancial Expired Minute Volume | 32 | L/min
2434 | Spontaneous Expired Minute Volume | 32 | L/min
2467 | Patient Type ID | 139 | unitless
2564 | Peak Airway Pressure | 44 | mbar
2565 | Plateau Airway Pressure | 44 | mbar
2570* | Spontaneous Tidal Volume | 26 | mL
2583 | I:E Ratio Setting | 139 | unitless
2754 | Ventilator General Status | 139 | unitless
2756 | Ventilation Mode ID | 139 | unitless
2758 | Ventilator Operation Mode ID | 139 | unitless
2771 | Tidal Volume Setting | 31 | L
2952 | PS Activation State | 139 | unitless
2953 | VS Activaion State | 139 | unitless
3326 | Device Average Gas Flow | 32 | L/min
3503 | Auto Flow Active Status | 139 | unitless
3555 | ATC Activation Status | 139 | unitless
3591 | Device Number | 139 | unitless
3853 | Patient Type | 139 | unitless
3909 | Message Code | 139 | unitless
3966 | Inspired Mandatory Tidal Volume | 26 | mL
3968 | Spontaneous Fraction of Minute Volume | 19 | %
3971 | Negative Inspiratory Force | 44 | mbar
3998 | Auto Release Activation Status | 139 | unitless
4003 | Generic Respiration Rate | 1 | 1/min
4010 | Minute Volume Alarm Delay | 4 | s
4010 | Minute Volume Alarm Delay | 4 | s
4044 | Medibus Revision | 139 | unitless
4045 | Device Revision | 139 | unitless
4150 | VG Activation Status | 139 | unitless
4891 | Lung Time Constant | 4 | s
4892 | Airway Correlation Coefficient | 139 | unitless
4966 | Sigh Activation Status | 139 | unitless
5044 | Inspired Tidal Volume Setting | 26 | mL
5340 | Expired Mandatory Tidal Volume | 26 | mL
5374 | Expiratory Time Constant (RCexp) | 4 | s
6701 | Expiratory Time Setting | 4 | s
6702 | Inspiratory Component of I:E Ratio Setting | 139 | unitless
6703 | Expiratory Component of I:E Ratio Setting | 139 | unitless
6735 | Lung Elastance | 526 | mbar/L
7076 | Generic Ventilation Mode | 139 | unitless
7077 | Ventilation Mode Primary | 139 | unitless
7318 | Variable PS Activation Status | 139 | unitless
7364 | Patient Operation Mode | 139 | unitless
7640 | Mandatory Respiration Rate | 1 | 1/min
7642* | Mandatory Tidal Volume | 31 | L
7904* | Spontaneous Tidal Volume | 26 | mL
8366* | Generic Message Code | 139 | unitless
8696* | Generic Message Text | 139 | unitless
9146 | End Inspiratory Pressure | 44 | mbar
9288 | Tidal Volume Indexed By Body Weight | 243 | mL/kg
9466 | Mandatory Triggered Respiration Rate | 1 | 1/min
9475 | Volume of Leakage (MVLeak) | 32 | L/min
9476 | Percent of Leakage | 19 | %
50021 | Device Alarm Inactivation State | 139 | unitless